GENERAL NOTE TO SPECIFICATION WRITER: Green highlighted text covers items that must be either further specified (e.g. glazing color selection) or are optional additional requirements.

- Text sections preceded by [SELECT ONE]: required performances that must be selected.

  - Options will either be listed directly or refer to a separate resource due to the high volume of available options

- Text sections preceded by [OPTIONAL]: performances that may or may not be required for a specific project depending on jurisdictions (e.g. Florida) or other project needs.

- Other bolded/all-caps text provides other contextual direction.

To create a complete and consistent specification, the specifier must address all green text by either deleting items that are not necessary or inputting the needed information.

Section 08 45 00 Translucent Wall and Roof Assemblies

- PART 1 – GENERAL

  - SUMMARY

    - Section includes requirements for translucent wall and roof assemblies.

  - WORK INCLUDED

    - Engineer, manufacture, and installation of translucent wall and/or roof assemblies.

    - All anchors, brackets, hardware and all flashing up to but not penetrating adjoining work are also required as part of the system and shall be included.

    - Trained and factory authorized labor and supervision to complete the installation.

  - RELATED WORK ELSEWHERE

    - Structural Steel/Wood Framing/Concrete, Section __________

    - Curbs and supporting members, Section __________

    - Roofing, Section __________

    - Sheet Metal and Flashing, Section __________

    - Sealant, Section __________

  - QUALITY ASSURANCE

    - Products shall be manufactured by a company continuously and regularly employed in the engineering and manufacturing of translucent wall and roof assemblies for a period of at least ten (10) years.

    - Product manufacturer shall be ISO-9001 accredited

    - Erection shall be by a factory-approved installer who has been in the business of erecting similar material for at least five (5) consecutive years and can show evidence of satisfactory completion of projects of similar size, scope, and type.

    - The manufacturer shall be responsible for the configuration and fabrication of the complete translucent system in accordance with this specification.

  - SUBMITTALS

    - Submit color samples of colors specified or the manufacturers standard range.

    - Submit Shop drawings indicating dimensions, tolerances, profiles, connections, drainage, flashing, color selections, and coordination with adjacent scope.

    - The manufacturer shall submit substantiating data, stating that the products to be furnished are in accordance with or exceed these specifications.

    - The manufacturer shall submit full warranty terms and conditions for verification of compliance with the requirements of this specification.

    - [OPTIONAL: Include structural analysis data signed and sealed by a professional engineer licensed in the state of the project’s location]

    - The manufacturer shall submit performance data based on the following standards:

      - Self-Ignition Temperature (ASTM D 1929)

      - Burning Extent (ASTM D 635)

      - Smoke Density or Development (ASTM E 84, UL 723, or ASTM D 2843)

      - Interior Flame Spread Index (ASTM E 84)

      - [OPTIONAL] Roof Construction Class (ASTM E 108 or UL 790)

      - ICC Evaluation Service Report (ICC-ESR)

      - Insulation U-factor (NFRC 100)

      - Solar Heat Gain Coefficient (SHGC) (NFRC 201)

      - Visible Transmittance (VT) (NFRC 202)

      - Condensation Resistance (NFRC 500)

      - Air Infiltration (ASTM E 283)

      - Water Penetration (ASTM E 331)

      - Load Bearing Ability (ASTM E 330)

      - Concentrated Load, Fall Protection (ASTM E 661)

      - [OPTIONAL] Acoustic Insulation (ASTM E 90)

    - (OPTIONAL: LEED Submittals

      - Submit Environmental Product Declaration (EPDs) covering the entire product from material extraction to the point of shipment (Cradle to Gate); EPDs covering only subcomponents of the fenestration assembly will not be accepted.

      - Submit supplier pre and post-consumer recycled content data indicating the relative percentage of recycled material use versus total material use on the basis of cost.

      - Submit supplier shipping location for the purposes of determining regional material use.)

  - MAINTENANCE DATA

    - The manufacturer shall provide recommended maintenance procedures, schedule of maintenance and materials required or recommended for maintenance.

  - WARRANTY

    - Submit manufacturer’s written warranty covering failures in materials and workmanship that lead to leaking into the building within ten (10) years from date of delivery.

    - Provide a ten (10) warranty on the glazing covering change in light transmission of no more than 6% per ASTM D-1003.

    - Metal Finish Warranty: [SELECT ONE]

      - [Anodize: Provide manufacturer's standard 5 year [OPTIONAL: 10] warranty]

      - [Paint: Provide manufacturer's standard 1 year [OPTIONAL: 5, 10, or 20] warranty]

    - Submit installer’s written warranty agreeing to repair installation workmanship, defects and leaks within one [OPTIONAL: two, three] year from date of delivery.

- PART 2 – PRODUCTS

  - MANUFACTURER

    - Basis of design

      - The design and performance criteria of this job are based on [SELECT ONE]

        - [2.75” QuadSpan™]

        - [4” QuadSpan™]

      - As manufactured by Kingspan Light + Air, Inc.

        - Phone: (800) 759-6985.

        - Address: 28662 N Ballard Dr Lake Forest, IL 60045

        - Website: https://www.kingspan.com/us/en

        - Email: info@kingspanlightandair.us

    - Approved Manufacturers

      - Other manufacturers may bid for this project provided they submit evidence of compliance with all performance criteria specified.

  - TRANSLUCENT WALL AND ROOF ASSEMBLY DESCRIPTION AND PERFORMANCE

    - Description: Translucent glazing assemblies

      - A factory assembled double-glazed panel assembly incorporated into a complete aluminum frame system tested and warranted by the manufacturer as a single source system. Overall glazing assembly thickness shall be a minimum 2.75”.

      - Design shall provide for the replacement of the exterior glazing, independently of the interior glazing without exposing the building’s interior or compromising the weather tightness of interfering with the normal working functions of the building. Single layer glazing systems are not acceptable.

      - Translucent polycarbonate glazing must be constructed of tight cell sizes not exceeding 0.18”. Wider cells shall not be acceptable.

      - Glazing must be manufactured with a permanent integral ultra-violet protective layer.

    - Flammability

      - Interior Glazing Sheet: 8mm

        - Self-Ignition Temperature per ASTM D 1929: 950F°

        - Smoke Development Index per ASTM E 84: 40

        - Burning Rate per ASTM D 635: ZERO

      - Exterior Glazing Sheet: 10mm

        - Self-Ignition Temperature per ASTM D 1929: >650F°

        - Smoke Development Index per ASTM E 84: 25

        - Burning Rate per ASTM D 635: ZERO

      - Currently Listed ICC-ES Report confirming compliance with IBC Chapter 26: ESR-4745 - ICC Evaluation Service, LLC (ICC-ES)

      - [OPTIONAL: Minimum [SELECT ONE: Class C, Class A] Roof Construction Classification per ASTM E108 or UL 790]

    - Air, Water, Structural, and Impact

      - Air Permeability per ASTM E 283: < 0.30 CFM/SF @ 6.24 PSF

      - No water leakage per ASTM E 331: 2.75” at 15 PSF / 4” at 10 PSF

      - Proof wind loading per ASTM E 330/TAS 202: up to +/-110 PSF

      - Concentrated Loading per ASTM E 661 in reference to OSHA Section 1926.502(i)(2), and/or CalOSHA Sections 1632(b)(3), 3212(b) : 800lbs

    - Energy Performance

      - Product must be currently listed and certified by the NFRC as required in Section R303.1.3 of the IECC; listed products receive an identifying CPD#

        - Basis of Design CPD#: [SELECT ONE]

          - [KLA-M-14 QuadSpan 4“]

          - [KLA-M-4 QuadSpan 2.75”]

      - Exterior glazing color: [SELECT ONE]

        - [STANDARD: Clear Matte, Ice White Matte, White Matte

        - [NON-STANDARD: Blue (Matte or Non-Matte), Gray (Matte or Non-Matte), Green (Matte or Non-Matte), Bronze (Matte or Non-Matte), Reflective Gray (Non-Matte Only)

      - Interior glazing color: [SELECT ONE]

        - [STANDARD: Clear Matte, Ice White Matte, White Matte

        - [NON-STANDARD: Blue (Matte or Non-Matte), Gray (Matte or Non-Matte), Green (Matte or Non-Matte), Bronze (Matte or Non-Matte), Reflective Gray (Non-Matte Only)

      - NFRC Certified System Performance Values [SELECT ONE ROW OF VALUES FROM THE NFRC CPD LINKED BELOW BASED ON THE SELECTED GLAZING COLORS AND SYSTEM CONFIGURATION – INPUT SELECTED VALUES BELOW]

        - QuadSpan 2.75”: Directory Search Results (nfrc.org)

        - QuadSpan 4”: Directory Search Results (nfrc.org)

        - U-factor per NFRC 100: __________

        - Solar heat gain per NFRC 201: __________

        - Visible Transmittance per NFRC 202: __________

        - Condensation Resistance per NFRC 500: __________

      - [OPTIONAL: Panel and perimeter framing to be thermally improved]

    - [OPTIONAL: Augmentations] [SELECT ITEMS AS REQUIRED]

      - [OPTIONAL: Sound Transmission or Outside/Inside Transmission Coefficient per ASTM E90: __________STC, __________OITC] [SELECT DATA FROM ONE ROW AND DELETE THE CHART]

| Product | STC | OITC |
| --- | --- | --- |
| QuadSpan 4" | 25 | 17 |
| QuadSpan 4" | 28 | 21 |
| QuadSpan 4" | 28 | 22 |
| QuadSpan 4" | 32 | 25 |

  - METAL FRAME STRUCTURE

    - Design criteria shall be per [SELECT ONE: [structural notes page] [ASCE-7 requirements]]

    - Aluminum structural profiles shall be limited to a deflection of L/60 per IBC Table 1604.3.

    - [OPTIONAL: Post install field water test of system and surrounding shall be conducted by the installing contractor according to procedures in AAMA 501.2.]

  - METAL MATERIALS

    - Extruded aluminum shall be ANSI/ASTM B-221; 6063-T5/T6, 6005-T5 or 6061-T5/T6

    - Flashing: 5005 H34 Aluminum .040” thick

    - All fasteners for aluminum framing to be stainless steel or cadmium plated steel

    - All exposed Aluminum shall be finished [SELECT ONE]:

      - Painted finish as per performance requirement [SELECT ONE]:

        - [2 coat AAMA 2605]

        - [3 coat AAMA 2605]

        - [3 coat EXOTIC/METALLIC AAMA 2605]

      - Paint color to be [SELECT ONE: [selected from Manufacture’s standards] [custom to match Architect’s sample]].

      - Anodized finish as per performance requirement [SELECT ONE]:

        - [215 Class I Clear Anodized]

        - [Hard Coat Class I Colored Anodized].

- PART 3 – EXECUTION

  - EXAMINATION

    - The installer shall examine the area of installation to verify readiness of site conditions. Do not work until conditions are satisfactory.

  - INSTALLATION

    - Install components in strict accordance with manufacturer’s instructions on approved shop drawings.

- END OF SECTION